Automatic High-purity Nitrogen Hydrogen Air Generator

NHA-300 Nitrogen Hydrogen Air Generator Nitrogen purity: oxygen amount less 3PPM, dew point: -56℃ Nitrogen Flow: 0 - 300ml/min Nitrogen Pressure: 0.4MPa Hydrogen purity: 99.999% Hydrogen Flow: 0 - 300ml/min Hydrogen Pressure: 0.4MPa Air Flow: 0 - 2000ml/min Air Pressure: 0.4MPa Consumed Power: 330W Dimension: 350×350×500mm Net Weight: 30Kg